# General

## SUMMARY

### General Requirements:  Conform with requirements of all Sections of Division 01, General Requirements, as it applies to the work of this Section.

## QUALITY ASSURANce

### Qualifications:  Perform work of this Section only by Subcontractor of recognized standing (manufacturer training/ certification) who has adequate plant, equipment, and skilled workers to perform it expeditiously, and is known to have been responsible for satisfactory installations similar to that specified [during period of minimum three [five] years].

### Preinstallation Meeting

#### Before commencing work of this Section arrange site meeting to be attended by representatives of Contractor/applicator/manufacturer, the Consultant, and the Owner's Representative. Discuss design details, surface conditions, application procedures, and suitability of epoxy flooring systems for use intended and alternative recommendations.

#### Prior to start of work, submit letter from epoxy flooring manufacturer confirming qualifications of applicator

### Mock-up:  Provide on-site installation minimum {1 m2}[10 sq.ft.], of each epoxy flooring system with minimum slip resistance required, for review.

## ACTION SUBMITTALS

### Product Data: For each type of product. Include manufacturer's technical data, application instructions, and recommendations for each epoxy flooring component required.

### Sustainable Design Submittals:

#### Laboratory Test Reports: For epoxy flooring products, indicating compliance with requirements for low-emitting materials.

### Samples for Initial Selection: For each type of exposed finish required.

### Samples for Verification: For each epoxy flooring system required, 6 inches (150 mm) square, applied to a rigid backing by Installer for this Project.

## INFORMATIONAL SUBMITTALS

### Installer Certificates: Signed by manufacturer certifying that installers comply with specified requirements.

### Material Certificates: For each epoxy flooring component, from manufacturer.

### Material Test Reports: For each epoxy flooring system, by a qualified testing agency.

## CLOSEOUT SUBMITTALS

### Maintenance Data: For each epoxy flooring to include in maintenance manuals.

## DELIVERY, STORAGE, AND HANDLING

### Package, seal and label each epoxy flooring material/component to show manufacturer's and product name, and colour.

## Ambient REQUIREMENTS

### Do not apply epoxy flooring over materials that contain over 4% moisture.

### Apply fluid-applied epoxy flooring only:

#### With surface temperatures at a minimum of 16oC for 24 hours before, during, and for 24 hours following application, or until cured.

#### When no dust is being raised.

#### In well-ventilated and broom clean areas.

## MAINTENANCE

### Maintenance Instructions:  Submit maintenance instructions for incorporation into Maintenance Manual.

# Products

## MATERIALS

### Each material used in the application of each epoxy flooring system shall be as recommended or manufactured by the supplier of the epoxy flooring system.

### Epoxy Flooring and Base:  Durex Epotel GSC Epoxy High Performance Smooth Epoxy Floor Coating is a two component, 100% solids, solvent-free, liquid applied epoxy floor coating. Colours to later selection by Consultant from manufacturers full colour range;

#### Primer (Optional):  As required depending on site conditions.

#### Fluid Applied Epoxy – 1st Coat:  Durex Epotel GSC.  Design Coverage:  Durex Epotel GSC 4m2/L (160 ft2/gallon) at 10 mils per coat.

#### Fluid Applied Epoxy – 2nd Coat [Durex Epotel GSC. Design Coverage:  Durex Epotel GSC 4m2/L (160 ft2/gallon) at 10 mils per coat.

#### Polyurethane Top Coat (Optional): [Durex Polyuretel or Durex Durathane 90 or Durex Acrutel 100. Design Coverage as per manufacturer’s Technical Data Sheet.

#### Service Temperature Range:  minimum 10 Degrees degrees C; maximum 50 degrees C, quick term 120 degrees C.

#### Thickness:  20 mils DFT

#### Performance Criteria as Tested;

##### CFIA Approved

##### Compressive Strength:  ASTM 695-85, 65 MPA (9,450 psi).

##### Tensile Strength:  ASTM 695-85, 14.35 MPa (2,080 psi).

##### Tensile Modulus:  ASTM 638-86, 3.3 MPa (480 psi).

##### Flexural Modulus:  ASTM D790-86, 3.8 MPa (556 psi).

##### Mar Resistance:  ASTM D5178-91, 1.5kg.

##### Abrasion Resistance:  ASTM D4060-90.033g maximum weight loss.

##### Shore D Hardness, 88.

##### Chemical Resistance:  review recommended and limited service as tested (confirm with manufacturer).

### Sealant:  type in accordance with requirements specified in Section 07 92 00.

# Execution

## EXAMINATION

### Verify that specified environmental conditions are ensured before commencing work.

### Test substrate in accordance with ASTM D4263 and ASTM F1869 or ASTM F2170 or ASTM F2420 to ensure that moisture level and in accordance with ASTM F710 for acid-alkali balance; does not exceed limits recommended by epoxy flooring manufacturer.  Submit completed test documentation to Contractor and Consultant for review prior to beginning epoxy flooring installation.

### Ensure that surfaces to receive epoxy flooring have been provided as specified in the work of other Sections; that they will not adversely affect execution, permanence, or quality of work; and that they can be put into acceptable condition by means of preparation specified in this Section.

### Defective work resulting from application to unsatisfactory surfaces will be considered the responsibility of those performing the work of this Section.

## PREPARATION

### Following his acceptance of surfaces, epoxy flooring applicator shall be responsible for surface preparation not specified under work of other Sections.  Prepare [existing and] new concrete floors over entire area with commercial shot-blast machine, or other mechanical technique accepted by epoxy flooring manufacturer to minimum ICRI CSP 3 (light shotblast) texture unless otherwise recommended floor manufacturer.

### Cover or mask surfaces adjacent to those receiving epoxy flooring to protect work of others and property from damage and soil.

### Materials soiled by epoxy flooring during application and storage, and from which soil cannot be completely removed, shall be replaced under work of this Section.

### Fill open control joints, and other cracks and voids with material compatible with epoxy flooring materials.

### Clean prime surfaces as recommended by epoxy flooring manufacturer.

## APPLICATION

### General:

#### Before work commences, arrange for a pre-installation meeting, at which conditions of surfaces and possible adaptations to suit, and use of materials and application procedures shall be discussed between Contractor, Epoxy flooring Subcontractor, Consultant, and representatives of material manufacturers.

#### Prepare a test patch to verify effectiveness of the cleaning process and to check product adhesion to the surface.

#### Stop epoxy flooring in a straight line; continue with product, butt up to create a seamless finish.

#### Carefully organize the work with sufficient tradesmen to complete an entire section at natural break points.

#### Apply epoxy flooring with care to ensure that no laps, voids, or other marks or irregularities are visible, and with an appearance of uniform colour, and texture, all within limitations of materials and areas concerned.

#### Avoid stop and start lines within any one section.  Separate application phases by using architectural break.

#### Ensure that the final stroke of the roller is always in the same direction and with the same pressure applied to the roller.

#### Match colours and textures of approved samples.

#### Make clean true junctions with no visible overlap between adjoining applications of epoxy flooring.

#### Chase edge of adjacent floor systems so that epoxy flooring finishes flush with adjacent floor systems.

### Mortar Bed:  Provide mortar bed sloped to drain.

### Apply primer followed by flooring in accordance with epoxy flooring manufacturer's specifications.

### Cove material up wall where bases are indicated.  Form cove with 25 mm [1"] radius.

### Install divider strips at junctions of epoxy flooring with other materials, and together with beads at top of bases.

### Application Epoxy flooring

#### Primer:  Premix components A and B at 2:1 ratio with low speed drill equipped   with paddle mixing blade for two minutes.  Pour into substrate in ribbons and apply with squeegee.  Cut in with brush and back roll with short nap roller.  Apply to minimum 8 mils thickness.

#### Epoxy Coating:  Premix liquid components A and B with low speed drill/ mixing paddle for two minutes, apply at minimum 10 mils per coat. Apply 2 coats for a thickness of 20 mils DFT.

#### Anti-Slip (optional):  Broadcast anti-slip sand into wet Epotel GSC Coating immediately after application as pre-determined by the design authority.

#### Top Coat (optional):  Blend components A and B for two minutes, pour onto floor into ribbons, distribute with squeegee and lightly back-roll with lint free roller to smooth surface finish.  Application thickness as per manufacture’s Technical Data Sheet.

## [SITE TOLERANCES

### Finish surfaces shall be level, or straight where sloped to drains, within a tolerance of {1.5 mm}[1/16"] in {3 m}[10'-0"], and shall not vary more than {0.8 mm}[1/32"] in any running {300 mm}[foot].]

## [REPAIR

### Touch-up and refinish minor defective work.  Refinish entire surface areas where finish is damaged or otherwise unacceptable.]

## [CLEANING

### Remove promptly as work progresses spilled or spattered materials from surfaces of work performed under other Sections.  Clean floors on completion of work.  Do not mar surfaces while removing.

### Clean tools and equipment immediately with solvent reducers.

### Leave storage and mixing areas in same condition as equivalent spaces in project.]

## [PROTECTION

### Erect barriers to prevent the entry and presence of personnel not performing work of this Section during application of fluid-applied epoxy flooring, and for 48 hours following completion of application.]

END OF SECTION